## Tools Used
Tools Used
17-2111.02 - Fire-Prevention and Protection Engineers
Section | Category | Example
Tools | Air samplers or collectors | Sampling probes
Tools | Calorimeters | Cone calorimeters
Tools | Calorimeters | Furniture calorimeters
Tools | Calorimeters | Oxygen depletion calorimeters
Tools | Calorimeters | Room calorimeters
Tools | Desktop computers
Tools | Digital cameras
Tools | Dissolved oxygen meters | Oxygen meters
Tools | Fiber sensors | Silica-carbide fiber sensors
Tools | Flow transmitters | Flow tunnels
Tools | Flow transmitters | Mass flow controllers
Tools | Fume hoods or cupboards | Collection hoods
Tools | Gas burners | Counter-flow slot burners CSB
Tools | Gas burners | Methane burners
Tools | Gas burners | Propane diffusion flame burners
Tools | Heat sinks
Tools | Laboratory box furnaces | Flame spread testers
Tools | Laboratory box furnaces | Flammability testers
Tools | Laboratory box furnaces | Smoke density testers
Tools | Laboratory box furnaces | Wall panel furnaces
Tools | Laboratory heaters | Radiant heaters
Tools | Lasers | Helium-neon lasers
Tools | Loadcells | Load cells
Tools | Notebook computers
Tools | Orifice plate | Orifice-plate flowmeters
Tools | Oxygen gas analyzers | Oxygen analyzers
Tools | Photo tubes | Photoelectric cells
Tools | Photosensitive diodes | Silicon photodiodes
Tools | Temperature transmitters | Heat flux transducers
Tools | Thermocouples
Tools | Tube furnaces | Steiner tunnel furnaces
Tools | Visual filters | Optical filters